## Instructions
INSTRUCTIONS
1 | Data input - level information
1.1 | Suction wet well level is the level(s) at which the pumping system is drawing from.
1.2 | Discharge level is the level(s) at which the pumping system discharges into.
1.3 | Static head is calculated automatically.
1.4 | NPSH reference plane is used in the NPSHa calculations.
1.5 | Units: - Check that all of the levels are referenced to the correct (and same) datum (e.g. mAOD). - The units for static head change automatically with media being pumped (water / sewage = m, sludge = bar).
#REF!
2 | Data input - pipeline information
2.1 | To add an additional pipe section(s), highlight and copy column 'M' and insert column. Ensure that the section numbers are correct. If you don't copy the column then the relevant formula will not be copied across.
2.2 | Pump branch (suction/discharge) or rising main, this affects whether the section of pipe is included in: - the system curve (or taken away from the pump curve as a 'pump station loss'). - the NPSHa calculations.
2.3 | Ensure that the diameter is the correct internal diameter for the pipe material and pressure rating being modelled.
2.4 | Length
2.5 | Roughness: there is guidance in the Pipelines Manual (see column 'AI' onwards for appropriate page).
2.6 | Amend the fluid temperature as appropriate (calculations assume default of 20degC if left blank). The valid temperature range is 0.010 degC to 250 deg C. Temperatures between 1 and 100 degC must be in 1 deg increments; between 100 and 200 degC must be in 2 deg increments; and from 200 to 250 degC must be in 5 deg increments.
2.7 | Duty flow velocity: there is guidance in the Pipelines Manual (see column 'AI' onwards for appropriate page). The user is responsible for checking that the velocities within each pipe branch are appropriate.
2.8 | Minor losses drop down menu are generally as per the Pipelines Manual. Additional fittings can be added to the drop down menu (cells AA89 to AE171)
3 | Data input - pumped media
3.1 | Ensure that the correct sludge type is used as this can greatly affect the end result.
3.2 | Correct estimation of the sludge thickness / or to relevant client specification.
3.3 | Refer to TR185 for more information of sludge pumping.
4 | Data input - flow / head summary
4.1 | This provides a summary of the headlosses within each section of pipe. Pump branches are not listed here as they are taken off the pump performance curve.
5 | Data input - pump duty information
5.1 | The duty flow here is the total pumping station flow required with all the pumps being modelled.
5.2 | Insert the number of duty (and assist) pumps to be running at any one time. Having multiple pumps here will split the flow evenly between the pump branches and alter the system curve accordingly.
6 | Data input - pump performance curve data
6.1 | Insert six data points for a specific pump (flow, head and NPSHr) noting the units requested (units will be automatically determined by the media being pumped).
6.2 | Any pump branch (individual pump suction or discharge) section is included here by subtracting the dynamic losses from the pump performance curve. This is particularly important when the pumping system has multiple pumps in operation and the single system curve / pump performance curve is to be used to determine operating points with one or two (or more) pumps.
6.3 | If the pump is variable speed, then insert a percentage of full speed. This will calculate (using the Affinity Laws) the reduced flow and pump head.
6.4 | Variable speed pump curves will need to be plotted on the System Curve manually.
#REF!
7 | Data input - pump testing / curve tolerance
7.1 | Produces tolerance bars on the effective pump performance curve based on ISO 9906.
7.2 | Different sized pumps will have different testing requirements.
7.3 | Check client specifications for any specific requirements and amend as appropriate.
8 | Data input - working depth calculations
8.1 | Manually input the wet well surface area.
8.2 | Beware that benching (and other structures) might alter the actual working volume of the wet well.
8.3 | Different pump suppliers will be able to advise on suitable / appropriate maximum number of starts/hour for their pumps.
8.4 | Check client specifications for any differences and amend as appropriate.
9 | Data input - retention time calculations
9.1 | This takes into account all the pipelines being modelled (through duty lines only) and the wet well volume.
9.2 | Once the retention time has been calculated, refer to a Process Engineer to determine whether septicity is likely to be a problem.

## Data Input
LEVEL INFORMATION | [5 empty] | PUMPED MEDIA | [6 empty] | PUMP DUTY INFORMATION
| Max | Min | Design
Suction wet well level |  |  |  | mAOD |  | Pumped media |  | Clean Water / Sewage |  |  |  |  | Duty flow |  |  | l/s | Pump Duty Head |  | 0 | m
Discharge level |  |  |  | mAOD |  |  |  | 6 |  |  |  |  | Nr of duty pumps |  |  |  | Pump Duty Flow |  | 0 | l/s
Static head | 0 | 0 | 0 | m |  |  |  | Median
NPSH reference plane |  | mAOD | [10 empty] | Pump located before section? |  |  | 1
Atmospheric pressure | 101.3 | kN/m2
PIPELINE INFORMATION | [12 empty] | PUMP PERFORMANCE CURVE DATA
Section* |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |  | Pump Model: | [7 empty] | Freq
Description of sections | [12 empty] | Pump Curve:
[13 empty] | Pump Details from |  |  | Effective |  | 2 Pump | Variable Speed |  |  |  | Pump testing / tolerance (ISO 9906)
[13 empty] | Manufacturer |  |  | Pump |  |  | 1 Pump | Head | NPSHr | 2 Pump | Flow |  | Head |  | Max | Min | Max | Min
Pump Branch or Rising Main ? | [12 empty] | Flow | Head | NPSHr | Head | NPSHa(1) | Flow | Flow |  |  | Flow | Positive tolerance | Negative tolerance | Positive tolerance | Negative tolerance | Flow | Flow | Head | Head
Diameter | mm | [11 empty] | (l/s) | (m) | (m) | (m) | (m) | (l/s) | (l/s) | (m) | (m) | (l/s) | (l/s) | (l/s) | (m) | (m) | (l/s) | (l/s) | (m) | (m)
Length | m
Roughness | mm
Temperature | °C
Duty flow velocity | m/s | bar: 1 to 10
Check that pipe velocities are appropriate for the type of fluid and whether it is a suction, pump discharge or rising main section.
Minor losses | Select fittings (use drop down menu) and insert number of each type of fitting in each section.
Entry loss, sharp edged | 0.5 | [11 empty] | (1) NPSHa is only correct for single pump operations or multiple pumps with individual suctions.
Entry loss, bell mouth | 0.05 | [11 empty] | Further analysis is required for multiple pump operation with common suctions.
Bend, SR (R/D = 1), 90° | 0.75
Bend, SR (R/D = 1), 45° | 0.3 | [11 empty] | PUMP TESTING / CURVE TOLERANCE (ISO 9906)
Bend, LR (R/D = 2.5), 90° | 0.4 | [22 empty] | Acceptance grades and corresponding tolerance (ISO 9906, Table 8)
Bend, LR (R/D = 2.5), 45° | 0.2 | [11 empty] | Grade |  |  | Flow | + | - |  | Head | + | -
Equal tee, inline, 90°, radiused | 0.35 | [15 empty] | - | - |  |  | - | - |  |  |  | Grade 1 |  |  | Grade 2 |  | Grade 3
Equal tee, line-branch, 90°, radiused | 0.8 | [24 empty] | 1U | 1E | 1B | 2U | 2B | 3B
Taper contraction, 4/5 | 0 | [11 empty] | WORKING DEPTH CALCULATIONS | [10 empty] | Flow | + | 0.1 | 0.05 | 0.05 | 0.16 | 0.08 | 0.09
Taper enlargement, 4/5 | 0.03 | [22 empty] | Flow | - | 0 | 0.05 | 0.05 | 0 | 0.08 | 0.09
Valve, gate, full open | 0.15 | [11 empty] | Wet well cross sectional area | [6 empty] | m2 |  |  |  | Diff head | + | 0.06 | 0.03 | 0.03 | 0.1 | 0.05 | 0.07
Valve, butterfly, full open | 0.3 | [11 empty] | Maximum number of pump starts / hour | [10 empty] | Diff head | - | 0 | 0.03 | 0.03 | 0 | 0.05 | 0.07
Valve, swing check, full open | 2 | [11 empty] | Working volume between pump start and stop levels | [5 empty] | - | m3
Exit loss, sharp edged | 1 | [11 empty] | Distance between pump start and stop levels | [5 empty] | - | m
Exit loss, bell mouth | 1
| - | [11 empty] | RETENTION TIME CALCULATIONS
User Inputs
[13 empty] | Pumping station inflow | [6 empty] | l/s
[13 empty] | Distance from wet well floor to BWL | [6 empty] | m
Total Minor Losses |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Retention time (wet well + rising main) | [5 empty] | - | hrs
FLOW / HEAD DATA SUMMARY
| Headloss in each section | [11 empty] | Total | Maximum | Minimum | Design
| Flow | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |  | Headloss | Head | Head | Head
| (l/s) | (m) | (m) | (m) | (m) | (m) | (m) | (m) | (m) | (m) | (m) |  | (m) | (m) | (m) | (m)
| 0 | [11 empty] | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
Please note that only headlosses on sections marked as "common main" or "rising main" are included in calculation of the system curve.
Headlosses on sections marked as "pump suction" or "pump discharge" are included in the pump performance curves.
Summary of branch losses for effective pump curve calculations
Sections marked as "pump suction" or "pump discharge" are included in the pump performance curves.
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |  | Branch
|  | (m) | (m) | (m) | (m) | (m) | (m) | (m) | (m) | (m) | (m) |  | losses
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Summary of suction losses for NPSH(a) calculations
Sections marked as "common suction" or "pump suction" are included in the NPSHa calculations.
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |  | Suction
|  | (m) | (m) | (m) | (m) | (m) | (m) | (m) | (m) | (m) | (m) |  | losses
| 0 | [11 empty] | 0 | bar: 1 to 10
| 0 | [11 empty] | 0 | bar: 1 to 10
| 0 | [11 empty] | 0 | bar: 1 to 10
| 0 | [11 empty] | 0 | bar: 1 to 10
| 0 | [11 empty] | 0 | bar: 1 to 10
| 0 | [11 empty] | 0 | bar: 1 to 10
Sludge properties | [24 empty] | Minor loss coefficients | [6 empty] | TR185 Data |  |  |  |  | Kinematic viscosity and NPSH Data
(MML Pipelines Manual, Table E.3.3)
Pumped media |  | Clean Water / Sewage | Clean Water / Sewage | Clean Water / Sewage | Clean Water / Sewage | Clean Water / Sewage | Clean Water / Sewage | Clean Water / Sewage | Clean Water / Sewage | Clean Water / Sewage | Clean Water / Sewage | [13 empty] | Fitting description |  |  |  | Loss coef., K (V2/2g) |  |  | Pumped media |  | Clean Water / Sewage |  |  |  | Maximum temperature in common suction |  | 0 | degC
Water density | kg/m3 | 998.2 | 998.2 | 998.2 | 998.2 | 998.2 | 998.2 | 998.2 | 998.2 | 998.2 | 998.2 | [20 empty] | Water density |  | 999 | kg/m3 |  |  | Maximum temperature in pump suction |  | 0 | degC
Suspended Solids Content (SS) | kg/m3 | 61.1188 | 61.1188 | 61.1188 | 61.1188 | 61.1188 | 61.1188 | 61.1188 | 61.1188 | 61.1188 | 61.1188 | [13 empty] | Entry loss, sharp edged |  |  |  | 0.5 |  |  | Suspended Solids Content (SS) |  | 61.1188 | kg/m3 |  |  | Temperature used in NPSHa calculation |  | 15 | degC
Sludge Density | kg/m3 | 1017.8458 | 1017.8458 | 1017.8458 | 1017.8458 | 1017.8458 | 1017.8458 | 1017.8458 | 1017.8458 | 1017.8458 | 1017.8458 | [13 empty] | Entry loss, bell mouth |  |  |  | 0.05 |  |  | Density of dry sludge |  | 1500 | kg/m3 |  |  | Vapour pressure |  | 1.7 | kN/m2
[25 empty] | Bend, SR (R/D = 1), 90° |  |  |  | 0.75 |  |  | Sludge Density |  | 1018.6145 | kg/m3 |  |  | Specific weight |  | 9.8002 | kN/m3
[25 empty] | Bend, SR (R/D = 1), 45° |  |  |  | 0.3 |  |  | Upper, Median or Lower |  | Median |  | 3
Hydraulic profile data | [24 empty] | Bend, SR (R/D = 1), 22.5° |  |  |  | 0.15 | [7 empty] | Table C2.2 Properties of water at saturation (CIBSE C - Reference Data)
[25 empty] | Bend, LR (R/D = 2.5), 90° |  |  |  | 0.4 |  |  |  | Power index |  |  |  | Temperature | Absolute vapour pressure | Specific heat capacity | Dynamic viscosity | Density | Specific enthalpy of liquid | Prnadtl number | Temperature
Node or pump? | 0 | Pump | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | [12 empty] | Bend, LR (R/D = 2.5), 45° |  |  |  | 0.2 |  |  | Primary | 0.79 | 0.82 | 0.85 | -0.172 | ts / degC | ps / kPa | cr / (kJ.kg-1.K-1) | mf / (mPa.s) | r / (kg.m-3) | hf / (kJ.kg-1) | (Pr)g | ts / degC
Chainage (m) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [12 empty] | Bend, LR (R/D = 2.5), 22.5° |  |  |  | 0.1 |  |  | Primary plus humus | 0.79 | 0.82 | 0.85 | -0.172 | 0.01 | 0.61 | 4.21 | 1782 | 999.8 | 0 | 13.61 | 0.01
Head (m) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [12 empty] | Bend, 2 piece mitre, 90° |  |  |  | 1.2 |  |  | Primary plus activated | 0.78 | 0.81 | 0.84 | -0.184 | 1 | 0.66 | 4.2096 | 1724 | 999.8 | 4.17 | 13.11 | 1
[25 empty] | Bend, 2 piece mitre, 45° |  |  |  | 0.3 |  |  | Activated | 1.65 | 1.7 | 1.75 | -0.45 | 2 | 0.71 | 4.2088 | 1669 | 999.9 | 8.39 | 12.64 | 2
[25 empty] | Bend, 2 piece mitre, 22.5° |  |  |  | 0.15 |  |  | Humus | 0 | 1.9 | 0 | -0.45 | 3 | 0.76 | 4.2075 | 1616 | 999.9 | 12.6 | 12.18 | 3
Pipe loss calculations | [24 empty] | Bend, 3 piece mitre, 90° |  |  |  | 0.5 |  |  | Anaerobically Digested | 0.9 | 0.93 | 0.97 | -0.214 | 4 | 0.81 | 4.2059 | 1565 | 999.9 | 16.8 | 11.75 | 4
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | [12 empty] | Bend, 3 piece mitre, 45° |  |  |  | 0.3 |  |  |  | Laminar viscosity (N.sn/m2) |  |  |  | 5 | 0.87 | 4.204 | 1517 | 999.9 | 21.01 | 11.33 | 5
[25 empty] | Bend, 4 piece mitre, 90° |  |  |  | 0.3 |  |  | Primary | 5.9e-05 | 1.7e-05 | 4.8e-06 | 2.82 | 6 | 0.93 | 4.2019 | 1471 | 999.9 | 25.21 | 10.93 | 6
Flow rate | l/s | 1: 0 | [12 empty] | Equal tee, inline, 90°, sharp |  |  |  | 0.6 |  |  | Primary plus humus | 5.9e-05 | 1.7e-05 | 4.8e-06 | 2.82 | 7 | 1 | 4.1997 | 1427 | 999.9 | 29.41 | 10.55 | 7
Pipe diameter | mm | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [13 empty] | Equal tee, inline, 90°, radiused |  |  |  | 0.35 |  |  | Primary plus activated | 6.4e-05 | 1.9e-05 | 5.6e-06 | 3 | 8 | 1.07 | 4.1974 | 1385 | 999.8 | 33.61 | 10.19 | 8
Pipe roughness | mm | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [13 empty] | Equal tee, line-branch, 90°, sharp |  |  |  | 1.8 |  |  | Activated | 0.000192 | 0.00011 | 3.84e-05 | 3 | 9 | 1.15 | 4.1952 | 1344 | 999.7 | 37.81 | 9.85 | 9
Pipe length | mm | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [13 empty] | Equal tee, line-branch, 90°, radiused |  |  |  | 0.8 |  |  | Humus | 0 | 1.9e-05 | 0 | 3 | 10 | 1.23 | 4.193 | 1306 | 999.7 | 42 | 9.52 | 10
Fittings coefficient |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [13 empty] | Equal tee, line-branch, 45°, sharp |  |  |  | 1.2 |  |  | Anaerobically Digested | 6e-06 | 1.7e-06 | 5.4e-07 | 3.5 | 11 | 1.31 | 4.1913 | 1269 | 999.6 | 46.19 | 9.21 | 11
Temperature | deg C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [13 empty] | Equal tee, line-branch, 45°, radiused |  |  |  | 0.6 |  |  |  | Turbulent viscosity |  |  |  | 12 | 1.4 | 4.1897 | 1234 | 999.4 | 50.38 | 8.92 | 12
Velocity | m/s | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | [13 empty] | Sudden contraction, 4/5 |  |  |  | 0.15 |  |  | Primary | 2e-05 | 1.5e-05 | 1.1e-05 | 1.58 | 13 | 1.5 | 4.1883 | 1201 | 999.3 | 54.57 | 8.64 | 13
Water kinematic viscosity | m2/s | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06 | [13 empty] | Sudden contraction, 2/3 |  |  |  | 0.3 |  |  | Primary plus humus | 2e-05 | 1.5e-05 | 1.1e-05 | 1.58 | 14 | 1.6 | 4.1871 | 1169 | 999.2 | 58.75 | 8.37 | 14
Laminar viscosity | N.S^n/m2 | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | [13 empty] | Sudden contraction, 1/2 |  |  |  | 0.35 |  |  | Primary plus activated | 2.1e-05 | 1.6e-05 | 1.2e-05 | 1.68 | 15 | 1.7 | 4.186 | 1138 | 999 | 62.94 | 8.12 | 15
Power law index |  | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | [13 empty] | Taper contraction, 4/5 |  |  |  | 0 |  |  | Activated | 4.1944e-05 | 1.9e-05 | 1.1038e-05 | 1.9 | 16 | 1.82 | 4.1852 | 1108 | 998.9 | 67.13 | 7.88 | 16
Turbulent viscosity | N.S^n/m2 | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | [13 empty] | Taper contraction, 2/3 |  |  |  | 0 |  |  | Humus | 0 | 6.3e-06 | 0 | 1.9 | 17 | 1.94 | 4.1845 | 1080 | 998.7 | 71.31 | 7.64 | 17
Reynolds number (turb) |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | [13 empty] | Taper contraction, 1/2 |  |  |  | 0 |  |  | Anaerobically Digested | 7.9e-06 | 5.9e-06 | 4.3e-06 | 1.81 | 18 | 2.06 | 4.1839 | 1053 | 998.6 | 75.49 | 7.42 | 18
Reynolds number (lam) |  | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | [13 empty] | Sudden enlargement, 4/5 |  |  |  | 0.15 |  |  |  | Yield Stress (N/m2) |  |  |  | 19 | 2.2 | 4.1834 | 1027 | 998.4 | 79.68 | 7.2 | 19
Friction factor (turb) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [13 empty] | Sudden enlargement, 2/3 |  |  |  | 0.35 |  |  | Primary | 0.00013 | 7.4e-05 | 4.4e-05 | 2.72 | 20 | 2.34 | 4.183 | 1002 | 998.2 | 83.86 | 7 | 20
Friction factor (lam) |  | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | [13 empty] | Sudden enlargement, 1/2 |  |  |  | 0.6 |  |  | Primary plus humus | 0.00013 | 7.4e-05 | 4.4e-05 | 2.72 | 21 | 2.49 | 4.1826 | 978 | 997.9 | 88.04 | 6.81 | 21
Friction factor |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [13 empty] | Taper enlargement, 4/5 |  |  |  | 0.03 |  |  | Primary plus activated | 0.00014 | 8.3e-05 | 4.9e-05 | 2.9 | 22 | 2.64 | 4.1821 | 955 | 997.7 | 92.23 | 6.62 | 22
Fitting losses factor |  | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | [13 empty] | Taper enlargement, 2/3 |  |  |  | 0.08 |  |  | Activated | 0.000224 | 0.00013 | 6.4e-05 | 3 | 23 | 2.81 | 4.1817 | 932 | 997.5 | 96.41 | 6.44 | 23
Pipeline headloss | m | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | [11 empty] | Taper enlargement, 1/2 |  |  |  | 0.12 |  |  | Humus | 0 | 1.6e-05 | 0 | 3 | 24 | 2.98 | 4.1814 | 911 | 997.2 | 100.59 | 6.27 | 24
Pipeline headloss | bar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | [11 empty] | Exit loss, sharp edged |  |  |  | 1 |  |  | Anaerobically Digested | 1.4e-05 | 8.5e-06 | 5.1e-06 | 3.37 | 25 | 3.17 | 4.181 | 890 | 997 | 104.77 | 6.11 | 25
[25 empty] | Exit loss, bell mouth |  |  |  | 1 | [7 empty] | 26 | 3.36 | 4.1806 | 870 | 996.7 | 108.95 | 5.95 | 26
Flow rate | l/s | 1: 0 | [12 empty] | Valve, gate, full open |  |  |  | 0.15 | [7 empty] | 27 | 3.56 | 4.1801 | 851 | 996.5 | 113.13 | 5.8 | 27
Pipe diameter | mm | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [13 empty] | Valve, gate, half open |  |  |  | 2 | [7 empty] | 28 | 3.78 | 4.1797 | 833 | 996.2 | 117.31 | 5.66 | 28
Pipe roughness | mm | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [13 empty] | Valve, butterfly, full open |  |  |  | 0.3 |  |  | Upper bound |  | Clean Water / Sewage |  |  | 29 | 4 | 4.1794 | 815 | 995.9 | 121.49 | 5.52 | 29
Pipe length | mm | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [13 empty] | Valve, butterfly, half open |  |  |  | 10 |  |  | Median |  | Primary |  |  | 30 | 4.24 | 4.179 | 798 | 995.6 | 125.67 | 5.39 | 30
Fittings coefficient |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [13 empty] | Valve, globe, full open |  |  |  | 10 |  |  | Lower bound |  | Primary plus humus |  |  | 31 | 4.49 | 4.1787 | 781 | 995.3 | 129.85 | 5.26 | 31
Temperature | deg C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [13 empty] | Valve, globe, half open |  |  |  | 60 |  |  |  |  | Primary plus activated |  |  | 32 | 4.75 | 4.1784 | 765 | 995 | 134.03 | 5.14 | 32
Velocity | m/s | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | [13 empty] | Valve, multi-port disk, full open |  |  |  | 7.5 |  |  |  |  | Activated |  |  | 33 | 5.01 | 4.1782 | 749 | 994.6 | 138.2 | 5.02 | 33
Water kinematic viscosity | m2/s | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06 | [13 empty] | Valve, multi-port disk, half open |  |  |  | ?? |  |  |  |  | Anaerobically digested |  |  | 34 | 5.32 | 4.1781 | 734 | 994.3 | 142.38 | 4.91 | 34
Laminar viscosity | N.S^n/m2 | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | [13 empty] | Valve, swing check, full open |  |  |  | 2 |  |  |  |  | Humus |  |  | 35 | 5.62 | 4.178 | 719 | 994 | 146.56 | 4.8 | 35
Power law index |  | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | [25 empty] | 36 | 5.94 | 4.1781 | 705 | 993.6 | 150.74 | 4.69 | 36
Turbulent viscosity | N.S^n/m2 | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | [25 empty] | 37 | 6.27 | 4.1782 | 692 | 993.3 | 154.92 | 4.59 | 37
Reynolds number (turb) |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | [25 empty] | 38 | 6.62 | 4.1784 | 678 | 993 | 159.09 | 4.49 | 38
Reynolds number (lam) |  | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | [25 empty] | 39 | 6.99 | 4.1787 | 666 | 992.6 | 163.27 | 4.39 | 39
Friction factor (turb) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [25 empty] | 40 | 7.38 | 4.179 | 653 | 992.2 | 167.45 | 4.3 | 40
Friction factor (lam) |  | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | [25 empty] | 41 | 7.78 | 4.1794 | 641 | 991.8 | 171.63 | 4.21 | 41
Friction factor |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [25 empty] | 42 | 8.2 | 4.1798 | 629 | 991.4 | 175.81 | 4.13 | 42
Fitting losses factor |  | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | [25 empty] | 43 | 8.64 | 4.1802 | 618 | 991 | 179.99 | 4.05 | 43
Pipeline headloss | m | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | [23 empty] | 44 | 9.1 | 4.1806 | 606 | 990.6 | 184.17 | 3.97 | 44
Pipeline headloss | bar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | [23 empty] | 45 | 9.58 | 4.181 | 596 | 990.2 | 188.35 | 3.89 | 45
[37 empty] | 46 | 10.09 | 4.1812 | 586 | 989.8 | 192.53 | 3.81 | 46
Flow rate | l/s | 1: 0 | [24 empty] | 47 | 10.61 | 4.1815 | 576 | 989.3 | 196.71 | 3.74 | 47
Pipe diameter | mm | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [25 empty] | 48 | 11.16 | 4.1817 | 566 | 988.9 | 200.9 | 3.67 | 48
Pipe roughness | mm | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [25 empty] | 49 | 11.74 | 4.1818 | 556 | 988.5 | 205.08 | 3.6 | 49
Pipe length | mm | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [25 empty] | 50 | 12.33 | 4.182 | 547 | 988 | 209.26 | 3.53 | 50
Fittings coefficient |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [25 empty] | 51 | 12.96 | 4.1822 | 538 | 987.6 | 213.44 | 3.47 | 51
Temperature | deg C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [25 empty] | 52 | 13.61 | 4.1823 | 529 | 987.2 | 217.62 | 3.4 | 52
Velocity | m/s | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | [25 empty] | 53 | 14.29 | 4.1825 | 521 | 986.7 | 221.81 | 3.35 | 53
Water kinematic viscosity | m2/s | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06 | [25 empty] | 54 | 15 | 4.1828 | 512 | 986.2 | 225.99 | 3.29 | 54
Laminar viscosity | N.S^n/m2 | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | [25 empty] | 55 | 15.74 | 4.183 | 504 | 985.7 | 230.17 | 3.23 | 55
Power law index |  | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | [25 empty] | 56 | 16.51 | 4.1833 | 496 | 985.2 | 234.35 | 3.17 | 56
Turbulent viscosity | N.S^n/m2 | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | [25 empty] | 57 | 17.31 | 4.1837 | 489 | 984.7 | 238.54 | 3.12 | 57
Reynolds number (turb) |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | [25 empty] | 58 | 18.15 | 4.1841 | 481 | 984.3 | 242.72 | 3.06 | 58
Reynolds number (lam) |  | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | [25 empty] | 59 | 19.02 | 4.1845 | 474 | 983.7 | 246.81 | 3.01 | 59
Friction factor (turb) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [25 empty] | 60 | 19.92 | 4.185 | 467 | 983.2 | 251.09 | 2.96 | 60
Friction factor (lam) |  | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | [25 empty] | 61 | 20.86 | 4.1856 | 460 | 982.7 | 255.27 | 2.91 | 61
Friction factor |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [25 empty] | 62 | 21.84 | 4.1861 | 453 | 982.1 | 259.46 | 2.87 | 62
Fitting losses factor |  | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | [25 empty] | 63 | 22.85 | 4.1867 | 447 | 981.6 | 263.65 | 2.82 | 63
Pipeline headloss | m | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | [23 empty] | 64 | 23.91 | 4.1874 | 440 | 981.1 | 267.83 | 2.78 | 64
Pipeline headloss | bar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | [23 empty] | 65 | 25.01 | 4.188 | 434 | 980.5 | 272.02 | 2.74 | 65
[37 empty] | 66 | 26.15 | 4.1886 | 428 | 979.9 | 276.21 | 2.7 | 66
Flow rate | l/s | 1: 0 | [24 empty] | 67 | 27.33 | 4.1892 | 422 | 979.4 | 280.4 | 2.66 | 67
Pipe diameter | mm | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [25 empty] | 68 | 28.56 | 4.1898 | 416 | 978.9 | 284.59 | 2.62 | 68
Pipe roughness | mm | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [25 empty] | 69 | 29.84 | 4.1904 | 410 | 978.3 | 288.78 | 2.58 | 69
Pipe length | mm | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [25 empty] | 70 | 31.16 | 4.191 | 404 | 977.7 | 292.97 | 2.54 | 70
Fittings coefficient |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [25 empty] | 71 | 32.53 | 4.1916 | 399 | 977.1 | 297.16 | 2.5 | 71
Temperature | deg C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [25 empty] | 72 | 33.96 | 4.1921 | 394 | 976.6 | 301.35 | 2.47 | 72
Velocity | m/s | [35 empty] | 73 | 35.43 | 4.1927 | 388 | 976 | 305.54 | 2.43 | 73 | bar: 1 to 10
Water kinematic viscosity | m2/s | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06 | [25 empty] | 74 | 36.96 | 4.1934 | 383 | 975.4 | 309.74 | 2.39 | 74
Laminar viscosity | N.S^n/m2 | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | [25 empty] | 75 | 38.55 | 4.194 | 378 | 974.9 | 313.93 | 2.36 | 75
Power law index |  | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | [25 empty] | 76 | 40.19 | 4.1947 | 373 | 974.3 | 318.12 | 2.33 | 76
Turbulent viscosity | N.S^n/m2 | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | [25 empty] | 77 | 41.89 | 4.1955 | 369 | 973.6 | 322.32 | 2.3 | 77
Reynolds number (turb) |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | [25 empty] | 78 | 43.65 | 4.1962 | 364 | 973.1 | 326.52 | 2.27 | 78
Reynolds number (lam) |  | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | [25 empty] | 79 | 45.47 | 4.1971 | 359 | 972.5 | 330.71 | 2.24 | 79
Friction factor (turb) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [25 empty] | 80 | 47.36 | 4.198 | 355 | 971.8 | 334.91 | 2.21 | 80
Friction factor (lam) |  | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | [25 empty] | 81 | 49.31 | 4.199 | 350 | 971.2 | 339.11 | 2.18 | 81
Friction factor |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [25 empty] | 82 | 51.33 | 4.1999 | 346 | 970.6 | 343.31 | 2.15 | 82
Fitting losses factor |  | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | [25 empty] | 83 | 53.42 | 4.2009 | 342 | 969.9 | 347.51 | 2.12 | 83
Pipeline headloss | m | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | [23 empty] | 84 | 55.57 | 4.202 | 338 | 969.3 | 351.71 | 2.1 | 84
Pipeline headloss | bar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | [23 empty] | 85 | 57.8 | 4.203 | 334 | 968.6 | 355.91 | 2.07 | 85
[37 empty] | 86 | 60.11 | 4.204 | 330 | 968 | 360.11 | 2.05 | 86
Flow rate | l/s | 1: 0 | [24 empty] | 87 | 62.49 | 4.205 | 326 | 967.3 | 364.32 | 2.02 | 87
Pipe diameter | mm | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [25 empty] | 88 | 64.95 | 4.206 | 322 | 966.7 | 368.52 | 2 | 88
Pipe roughness | mm | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [25 empty] | 89 | 67.49 | 4.207 | 318 | 966 | 372.73 | 1.97 | 89
Pipe length | mm | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [25 empty] | 90 | 70.11 | 4.208 | 314 | 965.3 | 376.94 | 1.95 | 90
Fittings coefficient |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [25 empty] | 91 | 72.82 | 4.209 | 311 | 964.7 | 381.15 | 1.93 | 91
Temperature | deg C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [25 empty] | 92 | 75.61 | 4.2099 | 307 | 964 | 385.36 | 1.9 | 92
Velocity | m/s | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | [25 empty] | 93 | 78.49 | 4.2109 | 304 | 963.3 | 389.57 | 1.88 | 93
Water kinematic viscosity | m2/s | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06 | [25 empty] | 94 | 81.46 | 4.212 | 300 | 962.7 | 393.78 | 1.85 | 94
Laminar viscosity | N.S^n/m2 | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | [25 empty] | 95 | 84.53 | 4.213 | 297 | 961.9 | 397.99 | 1.83 | 95
Power law index |  | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | [25 empty] | 96 | 87.69 | 4.2141 | 294 | 961.2 | 402.3 | 1.81 | 96
Turbulent viscosity | N.S^n/m2 | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | [25 empty] | 97 | 90.94 | 4.2153 | 291 | 960.5 | 406.42 | 1.79 | 97
Reynolds number (turb) |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | [25 empty] | 98 | 94.3 | 4.2165 | 287 | 959.8 | 410.63 | 1.77 | 98
Reynolds number (lam) |  | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | [25 empty] | 99 | 97.76 | 4.2177 | 284 | 959.1 | 414.84 | 1.76 | 99
Friction factor (turb) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [25 empty] | 100 | 101.33 | 4.219 | 281 | 958.3 | 419.06 | 1.74 | 100
Friction factor (lam) |  | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | [25 empty] | Temperature | Absolute vapour pressure | Specific heat capacity | Dynamic viscosity | Density | Specific enthalpy of liquid | Prnadtl number | Temperature
Friction factor |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [25 empty] | ts / degC | ps / kPa | cr / (kJ.kg-1.K-1) | mf / (mPa.s) | r / (kg.m-3) | hf / (kJ.kg-1) | (Pr)g | ts / degC
Fitting losses factor |  | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
Pipeline headloss | m | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Pipeline headloss | bar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Flow rate | l/s | 1: 0
Pipe diameter | mm | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pipe roughness | mm | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pipe length | mm | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fittings coefficient |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Temperature | deg C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Velocity | m/s | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Water kinematic viscosity | m2/s | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06
Laminar viscosity | N.S^n/m2 | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
Power law index |  | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
Turbulent viscosity | N.S^n/m2 | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
Reynolds number (turb) |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Reynolds number (lam) |  | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
Friction factor (turb) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Friction factor (lam) |  | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
Friction factor |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fitting losses factor |  | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
Pipeline headloss | m | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Pipeline headloss | bar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Flow rate | l/s | 1: 0
Pipe diameter | mm | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pipe roughness | mm | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pipe length | mm | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fittings coefficient |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Temperature | deg C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Velocity | m/s | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Water kinematic viscosity | m2/s | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06
Laminar viscosity | N.S^n/m2 | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
Power law index |  | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
Turbulent viscosity | N.S^n/m2 | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
Reynolds number (turb) |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Reynolds number (lam) |  | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
Friction factor (turb) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Friction factor (lam) |  | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
Friction factor |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fitting losses factor |  | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
Pipeline headloss | m | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Pipeline headloss | bar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Pump branch calculations
Flow rate | l/s | 1: 0
Pipe diameter | mm | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pipe roughness | mm | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pipe length | mm | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fittings coefficient |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Temperature | deg C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Velocity | m/s | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Water kinematic viscosity | m2/s | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06
Laminar viscosity | N.S^n/m2 | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
Power law index |  | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
Turbulent viscosity | N.S^n/m2 | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
Reynolds number (turb) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Reynolds number (lam) |  | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
Friction factor (turb) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Friction factor (lam) |  | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
Friction factor |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fitting losses factor |  | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
Pipeline headloss | m | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pipeline headloss | bar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Flow rate | l/s | 1: 0
Pipe diameter | mm | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pipe roughness | mm | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pipe length | mm | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fittings coefficient |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Temperature | deg C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Velocity | m/s | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Water kinematic viscosity | m2/s | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06
Laminar viscosity | N.S^n/m2 | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
Power law index |  | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
Turbulent viscosity | N.S^n/m2 | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
Reynolds number (turb) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Reynolds number (lam) |  | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
Friction factor (turb) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Friction factor (lam) |  | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
Friction factor |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fitting losses factor |  | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
Pipeline headloss | m | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pipeline headloss | bar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Flow rate | l/s | 1: 0
Pipe diameter | mm | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pipe roughness | mm | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pipe length | mm | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fittings coefficient |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Temperature | deg C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Velocity | m/s | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Water kinematic viscosity | m2/s | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06
Laminar viscosity | N.S^n/m2 | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
Power law index |  | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
Turbulent viscosity | N.S^n/m2 | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
Reynolds number (turb) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Reynolds number (lam) |  | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
Friction factor (turb) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Friction factor (lam) |  | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
Friction factor |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fitting losses factor |  | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
Pipeline headloss | m | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pipeline headloss | bar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Flow rate | l/s | 1: 0
Pipe diameter | mm | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pipe roughness | mm | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pipe length | mm | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fittings coefficient |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Temperature | deg C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Velocity | m/s | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Water kinematic viscosity | m2/s | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06
Laminar viscosity | N.S^n/m2 | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
Power law index |  | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
Turbulent viscosity | N.S^n/m2 | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
Reynolds number (turb) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Reynolds number (lam) |  | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
Friction factor (turb) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Friction factor (lam) |  | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
Friction factor |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fitting losses factor |  | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
Pipeline headloss | m | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pipeline headloss | bar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Flow rate | l/s | 1: 0
Pipe diameter | mm | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pipe roughness | mm | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pipe length | mm | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fittings coefficient |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Temperature | deg C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Velocity | m/s | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Water kinematic viscosity | m2/s | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06
Laminar viscosity | N.S^n/m2 | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
Power law index |  | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
Turbulent viscosity | N.S^n/m2 | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
Reynolds number (turb) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Reynolds number (lam) |  | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
Friction factor (turb) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Friction factor (lam) |  | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
Friction factor |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fitting losses factor |  | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
Pipeline headloss | m | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pipeline headloss | bar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Flow rate | l/s | 1: 0
Pipe diameter | mm | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pipe roughness | mm | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pipe length | mm | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fittings coefficient |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Temperature | deg C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Velocity | m/s | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Water kinematic viscosity | m2/s | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06
Laminar viscosity | N.S^n/m2 | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
Power law index |  | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
Turbulent viscosity | N.S^n/m2 | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
Reynolds number (turb) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Reynolds number (lam) |  | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
Friction factor (turb) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Friction factor (lam) |  | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
Friction factor |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fitting losses factor |  | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
Pipeline headloss | m | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pipeline headloss | bar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0